## Slide 1: WP1 — Market: sizing the opportunity and testing the €25bn Board figure
27 July 2026
Verdal Group · VG-STRAT-2026-07 · 27 July 2026 · Confidential — Board review

## Slide 2: The €25bn measures Europe's charging build-out, not Verdal's margin — which is nearer €7m a year, on a lease fee we have had to assume
WP1 — MARKET
1
The €25bn is a real magnitude — but not for what Verdal earns
No source cleanly produces €25bn, and none of the three that come close measures a site host's margin.
2
Verdal earns at the fourth of four levels, 2,850x below plug revenue
Capex, energy at the plug, operator billing, site-host margin — Verdal sits at the last one, under lease, today.
3
The prize is of the order of €7m a year
€7.1m a year on 1,100 stores at four bays, against a €766m six-country pool in 2030.
4
Self-operation loses €22.4m a year — on a high-power charger spec
Break-even is 160 kWh a bay a day; on a destination-grade 75 kW unit it is reached today.
5
The right question may not be charging margin at all
Lidl prices at €0.39/kWh in France against a €0.60 median: grocers buy footfall, not margin. WP5 carries it.
6
Three of the five decisive inputs are already in Verdal's hands
Bay counts, lease terms and the energy contract sit in the data room; two must be measured.
→ Test the figure on perimeter, not on arithmetic — and settle the lease fee and the charger spec before anyone rules self-operation in or out.
Source: WP1 market model, Assumptions tab; Verdal Board paper, June 2026.

## Slide 3: The figure under test
01
What a €25bn European charging figure measures, and at which level of the chain

## Slide 4: Charging figures circulate at four levels, and only the fourth — what a landowner keeps — is money Verdal would ever bank
THE FIGURE UNDER TEST
Level
What it measures
Whose revenue it is
Europe, 2030
1. Infrastructure capex
Hardware, installation and grid connection across every site type, highway corridors and fleet depots included
Equipment makers and installers
A cumulative build-out magnitude, not an annual flow — the Board's €25bn is consistent with this level
2. Energy at the plug
The full value of electricity delivered through every public charge point in Europe
Mostly the energy supplier, as a pass-through
€20.4bn a year
3. Operator revenue
What the charge-point operator bills, gross, before energy, hardware and operating cost
The charge-point operator
€766m a year in grocery destination charging, six countries
4. Site-host margin
What a landowner keeps: a lease fee, a revenue share, or the margin on operating
Verdal, today and under every structure tested
€7.1m a year — about 1/2,850th of the plug revenue
→ Establish which level a figure belongs to before doing anything with it.
Source: WP1 analysis. Verdal sits at level 4 today under lease, and would remain there under all three structures.

## Slide 5: Three published constructions land near €25bn for Europe in 2030, and not one of them measures what a site host keeps
THE FIGURE UNDER TEST
European charging capex to 2030
The public-charging share of Europe's charging build-out is cited at about €30bn cumulative (Société Générale, citing published estimates), of an €80bn total that includes home and workplace charging. The ACEA / McKinsey Charging Infrastructure Masterplan is of the same order. Level 1: equipment and installation, not revenue, and it includes highway corridors and fleet depots that a grocery car park does not address.
Paid market-research forecasts
US$15-34bn depending on the house: Grand View Research puts the European charging infrastructure market at US$15.1bn in 2030; Market Data Forecast at US$25.4bn by 2034; Meticulous Research at US$34bn by 2032. Three houses, three- to four-fold divergence on the same nominal market, methodologies undisclosed. Level 3: blended vendor and operator revenue. Treat as low-confidence.
McKinsey, European mobility finance
'European mobility finance: A €25 billion growth opportunity' (October 2023) matches the figure, the currency and the horizon year exactly — but it measures new annual revenue for mobility-FINANCE providers (loans, leases, insurance, subscriptions) across five countries, not the charging market. If this is the source, the Board paper cited the right number from the wrong report.
→ We do not assert which the Board used — the Board paper's own citation settles it in one line.
Sources: Societe Generale; ACEA/McKinsey Masterplan; Grand View, Market Data Forecast, Meticulous; McKinsey, Oct 2023.

## Slide 6: Even Europe's entire €20.4bn of plug revenue becomes €7m for Verdal in three steps — and the Board's €25bn sits above even that top line
THE FIGURE UNDER TEST
EUROS PAID AT THE PLUG, NARROWED, €M/YR 2030
20,356
EU public
charging
−19,590
Other
segments
−718
Other
grocers
−40.5
Cost of
delivery
7.1
Verdal
margin
→ The Board is not wrong to have quoted €25bn — it measures a different thing. Say so as a perimeter difference, never as an error.
WHAT EACH STEP REMOVES
• €20,356m a year is a flow; the Board's €25bn is a cumulative build-out.
• Two steps narrow a continent to €766m, then to Verdal's own €47.6m.
• The third is the one the paper skips: €47.6m billed becomes €7.1m kept.
HOW TO CARRY IT TO THE BOARD
• Lead with perimeter, not correction — every figure here is real.
• Put the numbers on one axis and the argument needs no words.
• Ask for the Board paper's citation; one line settles the source.
Sources: IEA Global EV Outlook 2025; Ember 2026; Eurostat band IC H2-2025; WP1 model tabs 1, 3 and 4; Board paper, June 2026.

## Slide 7: What Verdal can address
02
The pool, top-down from European electricity, and the volume, bottom-up from 1,100 car parks

## Slide 8: Six steps take European electricity down to 1.5 TWh of grocery destination charging, and three of the six are our judgement, not a published split
WHAT VERDAL CAN ADDRESS
EUROPEAN EV ELECTRICITY TO GROCERY, TWH 2030
European EV power
129 TWh
-70 %
Public charging
38.8 TWh
-78.1 %
Destination
8.5 TWh
-69.4 %
Grocery
2.6 TWh
-42.3 %
In scope
1.5 TWh
→ A bounding exercise, not a measurement — the bottom-up build on the next page is the primary estimate.
WHERE THE FUNNEL IS SOLID
• The IEA sources the first two steps: 4.3% of power, 30% public.
• The 22% destination share of kWh is ours — Europe publishes points.
• The 30% grocery share has no source at all; it is judgement.
HOW WE WOULD FIRM IT UP
• Ask both operators for kWh per bay per year on Verdal's own sites.
• Reconcile the six EV parc series against EAFO before WP3 scores.
• Treat the funnel as the bound, the bottom-up build as the figure.
Sources: IEA Global EV Outlook 2025 (Stated Policies); Ember 2026; EAFO and national charge-point registries; WP1 model tab 1.

## Slide 9: Bottom-up, 1,100 stores at four bays turn 84 GWh a year — under 6% of the pool, and all of it scales off a bay count Verdal has not supplied
WHAT VERDAL CAN ADDRESS
VERDAL VOLUME BUILT FROM ITS OWN ESTATE, GWH A YEAR (2030)
Total
84.3 GWh
DC bays
64.2 GWh
Bays
2,200
kWh/bay/day
80
Days
365
AC bays
20.1 GWh
Bays
2,200
kWh/bay/day
25
Days
365
→ One unsupplied number — bays a site — multiplies through everything above it.
WHAT IS VERDAL'S AND WHAT IS OURS
• 1,100 stores is the only figure in this deck that Verdal itself supplied.
• 4 convertible bays a site is ours. It is data-room request no.1.
• 80 and 25 kWh a bay a day are modelled; destination rates are unpublished.
WHAT THE NUMBER IS WORTH
• 84 GWh is 5.8% of the six-country grocery destination pool on our funnel.
• Both routes agree in order of magnitude — that is all the check can prove.
• Every euro on the following pages is earned on this volume and no other.
Sources: Verdal RfP, 15 July 2026 (site count); WP1 model tab 2. Bay count, mix and throughput are explicit assumptions.

## Slide 10: What a site host actually earns
03
Three commercial structures on the same energy, and the utilisation that decides between them

## Slide 11: A renegotiated revenue share beats today's lease by under €1m a year, while operating the chargers ourselves loses €22m on the same energy
WHAT A SITE HOST ACTUALLY EARNS
VERDAL'S RESULT BY STRUCTURE, €M/YR 2030
+7.1
Revenue share at 15% of gross
+6.6
Lease the bays, as today
−22.4
Operate the chargers
→ Same energy, same prices — and at the only published per-bay benchmark, today's lease already beats both alternatives.
WHAT THE THREE STRUCTURES ARE
• Leasing pays a fixed fee per bay and carries nothing. It is today.
• A revenue share earns about €0.5m more, same bays, same risk.
• Operating buys power, chargers and grid, and keeps what is left.
WHAT THIS DOES NOT SETTLE
• Savills UK: £3,000-5,000 a bay a year — contested, 2-3x our €1,500.
• Verdal holds the real fee; at the UK range the lease already wins.
• It prices charging only — Lidl at €0.39/kWh is buying footfall.
Sources: WP1 model tab 3; Eleport Feb-2026; ADAC Feb-2026; Eurostat band IC H2-2025; Savills UK (contested).

## Slide 12: Self-operation loses €22.4m on high-power charger economics, and fixed cost per charger does €44m of the €70m of damage
WHAT A SITE HOST ACTUALLY EARNS
Line
€m a year
What the line rests on
Gross charging revenue
47.6
84.3 GWh at €0.60/kWh DC and €0.45 AC (Eleport and ADAC, Feb-2026)
Electricity, wholesale + network
(16.0)
Eurostat non-household band IC, incl. taxes, H2-2025
Grid capacity and demand charges
(3.4)
€0.04/kWh assumed — published in none of the six countries
Payment, software and roaming
(2.4)
5% of gross — no charging-specific disclosure found
Charger operations and maintenance
(24.2)
€19,000 per DC charger a year (Interpath, May 2026)
Charger capital, amortised
(19.6)
€200,000 per charger over 12 years (Interpath range €150-250k)
Grid connection, amortised
(4.4)
€60,000 a site over 15 years; published range €10k to €500k
Self-operation result
(22.4)
Fixed cost per charger, not the energy margin, is what decides it
→ Fixed cost per charger decides this — so the charger spec, which WP2 has not chosen, decides it too.
Sources: WP1 model tab 3; Interpath, May 2026; Fastned FY2025 and Q2 2025; Eurostat band IC H2-2025; Eleport, Feb-2026.

## Slide 13: No demand assumption turns self-operation positive — but two equipment assumptions do, and neither of them is settled
WHAT A SITE HOST ACTUALLY EARNS
SELF-OPERATION RESULT AGAINST EACH DRIVER ALONE, €M/YR
DC throughput
-33.4
-0.6
40 to 160 kWh
Bays per site
-40.5
-13.4
2 to 8 bays
Charger spec
-22.4
0.6
200 kW to 75 kW
Bays per charger
-22.4
-2.8
2 to 4 outlets
Contribution/kWh
-29.8
-17.6
€0.25 to €0.45
Base case -22.4
Range tested
-40
-30
-20
-10
0
€m a year
Downside
Upside
→ The equipment decision, not the demand, decides this — and WP2 has not made it yet.
WHAT ACTUALLY DECIDES THE OPERATE CASE
• Every fixed cost is per charger a year, so charger count and spec decide it.
• A destination-grade 75 kW unit, not a 200 kW one, moves it to break-even.
• Four outlets per unit rather than two is worth €19.6m on its own.
WHAT THAT MEANS FOR THE RECOMMENDATION
• WP1 must not rule out self-operation: WP2 chooses the spec, and it decides.
• Our 80 kWh a bay a day is modelled — destination rates are unpublished.
• Both operators meter Verdal's own bays; ask them rather than model it.
Sources: WP1 model tabs 3 and 5; Interpath, May 2026 (charger cost and opex); Fastned FY2025. Destination throughput is unpublished.

## Slide 14: On a high-power spec, self-operation clears break-even in three of forty-two combinations of bays and throughput
WHAT A SITE HOST ACTUALLY EARNS
Bays per site
40
60
80
100
120
140
160
2
(18.9)
(16.2)
(13.4)
(10.7)
(8.0)
(5.2)
(2.5)
3
(26.1)
(22.0)
(17.9)
(13.8)
(9.7)
(5.6)
(1.6)
4 — base case
(33.4)
(27.9)
(22.4)
(17.0)
(11.5)
(6.1)
(0.6)
5
(40.6)
(33.8)
(27.0)
(20.1)
(13.3)
(6.5)
0.3
6
(47.9)
(39.7)
(31.5)
(23.3)
(15.1)
(6.9)
1.3
8
(62.3)
(51.4)
(40.5)
(29.6)
(18.7)
(7.7)
3.2
→ More bays make the loss larger, not smaller — and all 42 combinations assume a high-power spec.
Source: WP1 model tab 5, section B. Every cell recalculates from the Assumptions tab — the grid is live, not a picture.

## Slide 15: Five inputs decide this answer, Verdal already holds three — the two to be measured are destination throughput and a real grid-connection quote
WHAT A SITE HOST ACTUALLY EARNS
1
Convertible bays per site, and car-park capacity
Held by Verdal today — the RfP lists the store list with car-park capacity as available. Every euro in the model scales off this one number, and it is currently an assumption of four.
2
The two current lease agreements
Held by Verdal today. The fee per bay is the only number in this analysis that Verdal has and we do not, and it decides whether renegotiating is worth anything at all.
3
kWh per bay per year on Verdal's own sites
Held by the two incumbent operators, who meter every session. This is the largest hole in the analysis and it is one request, not a research programme.
4
Energy procurement contract and site grid capacity
Held by Verdal today. Determines the delivered cost per kWh and whether a site can take a high-power connection at all without reinforcement.
5
Three real grid-connection quotes, in three countries
Does not exist yet. The published range runs from €10,000 to €500,000 a site and no regulator in the six countries aggregates capacity charges. Three quotes bound it well enough to decide.
→ Three of the five cost nothing but an email — send them before the interim on 8 September.
Source: WP1 model, Assumptions tab. Items 1, 2 and 4 are held by Verdal today; items 3 and 5 must be measured.

## Slide 16: Three actions before 8 September decide whether the interim reports a threshold or a forecast, and two are data requests Verdal can send this week
WHAT A SITE HOST ACTUALLY EARNS
WEEK 1 — SEND THREE REQUESTS
The store list with car-park capacity and convertible bay counts; both current lease agreements with the incumbent charging operators; the energy procurement contract summary and the site grid capacity. The RfP lists all three as available. Together they replace the largest assumption in the model and the only Verdal figure we had to invent.
WEEKS 2 TO 5 — COLLECT WHAT IS MISSING
Ask both operators, through Verdal, for kWh delivered per bay per year on Verdal's own car parks — they meter every session, so the throughput figure we had to model already exists. In parallel, obtain 3 grid-connection quotes across three countries, and design and cost a 10-store metered pilot to measure throughput and dwell rather than to earn a return.
8 SEPTEMBER — REPORT A THRESHOLD
Present the perimeter finding on evidence and on scope, never on tone: the Board is not wrong to have quoted €25bn. Re-run the model on the supplied bay counts and actual lease terms. Then take one decision only — pilot or no pilot — before WP5 scores build, buy, partner and the fourth option of renegotiating the existing leases.
→ Nothing on this page needs a decision — it needs three emails and one pilot design.
Sources: Verdal RfP, 15 July 2026, sections 5 and 7; WP1 model, Assumptions tab. Dates follow the mandate's own timeline.

## Slide 17: WP1 — Market